## BSR49T-HC
BSR49T-HC & BSR49-HC_V1 (PLEASE VERIFY THE MODEL NAME ON THE LABEL. WE HAVE "BSR49-HC" AND "BSR49-HC_V1")
THOSE TWO UNITS HAVE DIFFERENT COMPRESSORS.
BSR49T-HC
Part No. | Part Name | Specification | Image | Required Qt'y | List Price
R817D-470 | DOOR RIGHT |  |  | 1 | 1445.2
R817D-460 | DOOR LEFT |  |  | 1 | 1445.2
R338A-010 | GASKET | RD-PVC(LS100 LG) 1512*610 |  | 2 | 129.5
R828A-190 | AUTO CLOSER LEFT |  |  | 1 | 66.5
R828A-200 | AUTO CLOSER RT |  |  | 1 | 66.5
R828A-330 | TOP HINGE LEFT |  |  | 1 | 28.6
R828A-340 | TOP HINGE RIGHT |  |  | 1 | 28.6
R828A-350 | BOTTOM HINGE LEFT |  |  | 1 | 47.6
R828A-360 | BOTTOM HINGE RIGHT |  |  | 1 | 47.6
R343A-440 | HINGE WASHER | POM OD25*ID13.2*H14 |  | 2 | 9.6
R514A-260 | MASCOT | HC-MODEL / ZINE |  | 1 | 61.7
R729A-170 | POWER CORD | 125V 15A/UL |  | 1 | 95
R714A-620 | COMPRESSOR, EM2X3125U | EMBRACO1/4,LMBP,314KCAL/H,5.80BTU/WH |  | 1 | 1134.8
R212A-140 | CONDENSER | FE, Φ4.76, |  | 1 | 322.7
R315B-430 | CONDENSER FAN MOTOR BRACKET | GI / T1.0*454.8*116.8 |  | 1 | 23.8
R3729-050 | CONDENSER FAN MOTOR BLADE | 115V FAN MOTOR AL 9" C.W |  | 1 | 28.6
R7423-311 | CONDENSER FAN MOTOR | 115V60HZ DAI-8204DYCA CW. |  | 1 | 218.3
R325C-760 | CONDENSER FAN MOTOR WIRE MESH COVER | MSWR#10 / ￠2.5*W287*D104.3*93.5 |  | 1 | 66.5
R214A-221 | EVAPORATOR COIL | AL+Electrodeposition coating W506*D246*H105 |  | 1 | 313.2
R3203-482 | EVAPORATOR FAN MOTOR BRACKET | STS430-2B T1*90*146 |  | 1 | 19.1
R3729-010 | EVAPORATOR FAN BLADE |  |  | 1 | 21.6
R7423-301 | EVAPORATOR FAN MOTOR_REACH IN(COND FAN MOTOR_TABLE UNIT) | AC115V 60HZ DAI-8204DYCA-1 CCW |  | 1 | 218.3
R3812-141 | EVAPORATOR FAN MOTOR GUARD | HIPS (VH-1800EX) .WHITE |  | 1 | 19.1
R3853-041 | EVAP AIR GUIDE RIGHT | T0.5*255.3*155.6, AL |  | 1 | 13
R3853-051 | EVAP AIR GUIDE LEFT | T0.5*255.3*155.6, AL |  | 1 | 13
R325A-210 | EVAPORATOR COVER | T0.5*727*653.5 STS443CT |  | 1 | 201.2
R1143-222 | EVAPORATOR DRAIN INSULATOR | T17*256*622, FOAM-PS |  | 1 | 19.1
R3743-041 | EVAPORATOR DRAIN PAN-MID | AL+COATING |  | 1 | 95
R3744-091 | EVAPORATOR DRAIN ELBOW-UPP | PP WHITE(30209L0200) |  | 1 | 4.6
R3744-101 | EVAPORATOR DRAIN ELBOW-LOW | PP WHITE(30225L0100) |  | 1 | 10.6
R345A-090 | EVAPORATOR DRAIN HOSE | Ø16*2.0T SILICON L180(TM 49R,F/72R,F) |  | 1 | 9.6 | `
R325A-141 | LED LAMP COVER | PC MILKI WHITE |  | 1 | 13
R833A-050 | LED LAMP ASSY | HIPS(405AF) |  | 1 | 47.6
R2183-032 | DRYER |  |  | 1 | 47.6
R872A-060 | ASSY VAPORI HOT PIPE | OD6.35*T0.7 INSUL |  | 1 | 226.1
R845A-750 | SUCTION PIPE ASSY | OD3.0*ID1.2*4500 |  | 1 | 334.8
R319C-850 | PIPE DRAIN BOOT | PA66(NYLON) |  | 1 | 9.6
R325C-780 | COVER VAPORI PIPE | GI / T0.5*232.9*437 |  | 1 | 19.1
R872A-130 | VAPORI ASSY | R290 TM VAPORI |  | 1 | 711.9
R325C-840 | COVER VAPORI | GI / T0.6*771.4*221.5 |  | 1 | 95
R831A-030 | VAPORIZER FAN | DC 12V / 3000RPM DA08025B12MF |  | 2 | 76
R3893-030 | GUARD FINGER | ￠1.8. 80*80 |  | 2 | 9.6
R818B-310 | TOP GRILL | BSR49T-HC / BSF49T-HC |  | 1 | 769.7
R725C-943 | MAIN PCB (TRE) |  |  | 1 | 294.3
R325C-561 | DISPLAY PCB COVER | ABS 2.0T(BLACK) |  | 1 | 9.6
R725C-722 | DISPLAY PCB |  |  | 1 | 95
R511A-651 | INLAY CONTROL | 134*40(BLUE AIR R MODEL) |  | 1 | 19.1
R734A-030 | POWER SWITCH | A1 |  | 1 | 19.1
R734A-040 | DOOR SWITCH | R290 REACH IN |  | 2 | 19.1
R3734-030 | LOCK & KEY | ZDC, ZCR |  | 2 | 36.3
R8173-130 | CHECK VALVE AS | LFT-49D |  | 1 | 19.1
R325C-850 | PCB COVER | GI / T1.0*268.7*250.8 |  | 1 | 30.3
R371A-080 | SHELF | W609*D580 |  | 8 | 129.5
R3313-151 | SHELF CLIP |  |  | 32 | 2.2
R3373-630 | SHELF STANDARD L | T1.2*930㎜ |  | 8 | 21.9
R371A-060 | SHELF REAR B | SWRM+PE/C 350*790 |  | 2 | 64
R371A-851 | SHELF REAR CLIP | POM 11*24.1*H30 |  | 8 | 9.6
R3323-230 | 4" CASTER STEM TYPE, WITHOUT BRAKE | STEM TYPE |  | 2 | 46.4
R3323-240 | 4" CASTER STEM TYPE, WITH BRAKE | STEM TYPE |  | 2 | 53.4
R325C-740 | COVER SAFTY WIRE MESH | MSWR#10 ￠2.5*1350*364 |  | 1 | 142.5
R7213-082 | TEMPERATURE SENSOR | YELLOW |  | 1 | 34.6
R732A-340 | DEFROST SENSOR | Since Jan. 2019 |  | 1 | 34.6
R719E-390 | HARNESS | L=450MM 5P |  | 1 | 38.1
R719E-440 | SWITCH HARNESS | UL AWG18 |  | 1 | 66.5
R719E-510 | SENSOR CONNECTOR HARNESS | UL AWG 18 / D-SENSOR CONNECT |  | 1 | 38.1
R719E-530 | DEFROST SENSOR CONNECT HARNESS | UL AWG 18 L500 |  | 1 | 19.1
R7374-240 | EARTH HARNESS -A | AWG18 105℃ |  | 1 | 9.6
R719E-310 | MAIN HARNESS AC | EM2X3125U UL AWG18/24 |  | 1 | 199.4
R719E-460 | MAIN HARNESS DC | UL AWG24 |  | 1 | 66.5
R719E-540 | V-FAN CONNECT HARNESS | UL AWG24 |  | 1 | 38.1
R7523-252 | HARNESS VAPORI | AWG18. L2020 |  | 1 | 47.6

## BSR49T-HC_V1
BSR49T-HC_V1
Part No. | Part Name | Specification | Image | Required Qt'y | List Price
R817D-470 | DOOR RIGHT | R290 BM AUTO HINGE |  | 1 | 1445.2
R817D-460 | DOOR LEFT | R290 BM AUTO HINGE |  | 1 | 1445.2
R338A-010 | GASKET | RD-PVC(LS100 LG) 1512*610 |  | 2 | 129.5
R828A-190 | AUTO CLOSER LEFT |  |  | 1 | 66.5
R828A-200 | AUTO CLOSER RT |  |  | 1 | 66.5
R828A-330 | TOP HINGE LEFT |  |  | 1 | 28.6
R828A-340 | TOP HINGE RIGHT |  |  | 1 | 28.6
R828A-350 | BOTTOM HINGE LEFT |  |  | 1 | 47.6
R828A-360 | BOTTOM HINGE RIGHT |  |  | 1 | 47.6
R343A-440 | HINGE WASHER | POM OD25*ID13.2*H14 |  | 2 | 9.6
R514A-260 | MASCOT | HC-MODEL / ZINE |  | 1 | 61.7
R729A-170 | POWER CORD | 125V 15A/UL |  | 1 | 95
R714A-630 | COMPRESSOR (FFU160UAX) + ACCESSORIES | EMBRACO1/2,LMBP,421KCAL/H,5.25BTU/WH |  | 1 | 1538.2
R212A-140 | CONDENSER | FE, Φ4.76, |  | 1 | 322.7
R315B-430 | CONDENSER FAN MOTOR BRACKET | GI / T1.0*454.8*116.8 |  | 1 | 23.8
R3729-050 | CONDENSER FAN MOTOR BLADE | 115V FAN MOTOR AL 9" C.W |  | 1 | 28.6
R7423-311 | CONDENSER FAN MOTOR | 115V60HZ DAI-8204DYCA CW. |  | 1 | 218.3
R325C-760 | CONDENSER FAN MOTOR WIRE MESH COVER | MSWR#10 / ￠2.5*W287*D104.3*93.5 |  | 1 | 66.5
R214A-220 | EVAPORATOR COIL | AL+Electrodeposition coating W506*D246*H105 |  | 1 | 313.2
R3203-482 | EVAPORATOR FAN MOTOR BRACKET | STS430-2B T1*90*146 |  | 1 | 19.1
R3729-010 | EVAPORATOR FAN BLADE |  |  | 1 | 21.6
R7423-301 | EVAPORATOR FAN MOTOR | AC115V 60HZ DAI-8204DYCA-1 CCW |  | 1 | 218.3
R3812-141 | EVAPORATOR FAN MOTOR GUARD | HIPS (VH-1800EX) .WHITE |  | 1 | 19.1
R3853-041 | EVAP AIR GUIDE RIGHT | T0.5*255.3*155.6, AL |  | 1 | 13
R3853-051 | EVAP AIR GUIDE LEFT | T0.5*255.3*155.6, AL |  | 1 | 13
R325A-210 | EVAPORATOR COVER | T0.5*727*653.5 STS443CT |  | 1 | 201.2
R1143-222 | EVAPORATOR DRAIN INSULATOR | T17*256*622, FOAM-PS |  | 1 | 19.1
R3743-041 | EVAPORATOR DRAIN PAN-MID | AL+COATING |  | 1 | 95
R3744-091 | EVAPORATOR DRAIN ELBOW-UPP | PP WHITE(30209L0200) |  | 1 | 4.6
R3744-101 | EVAPORATOR DRAIN ELBOW-LOW | PP WHITE(30225L0100) |  | 1 | 10.6
R345A-090 | EVAPORATOR DRAIN HOSE | Ø16*2.0T SILICON L180(TM 49R,F/72R,F) |  | 1 | 9.6
R325A-141 | LED LAMP COVER | PC MILKI WHITE |  | 1 | 13
R833A-050 | LED LAMP ASSY | HIPS(405AF) |  | 1 | 47.6
R2183-032 | DRYER |  |  | 1 | 47.6
R872A-060 | ASSY VAPORI HOT PIPE | OD6.35*T0.7 INSUL |  | 1 | 226.1
R845A-810 | SUCTION PIPE ASSY | OD3.0*ID1.4*4500 |  | 1 | 321
R319C-850 | PIPE DRAIN BOOT | PA66(NYLON) |  | 1 | 9.6
R325C-780 | COVER VAPORI PIPE | GI / T0.5*232.9*437 |  | 1 | 19.1
R872A-040 | VAPORI ASSY | R290 TM VAPORI |  | 1 | 711.9
R325C-840 | COVER VAPORI | GI / T0.6*771.4*221.5 |  | 1 | 95
R831A-030 | VAPORIZER FAN | DC 12V / 3000RPM DA08025B12MF |  | 2 | 76
R3893-030 | GUARD FINGER | ￠1.8. 80*80 |  | 2 | 9.6
R818B-310 | TOP GRILL | BSR49T-HC / BSF49T-HC |  | 1 | 769.7
R725C-943 | MAIN PCB (TRE) |  |  | 1 | 294.3
R325C-561 | DISPLAY PCB COVER | ABS 2.0T(BLACK) |  | 1 | 9.6
R725C-722 | DISPLAY PCB |  |  | 1 | 95
R511A-651 | INLAY CONTROL | 134*40(BLUE AIR R MODEL) |  | 1 | 19.1
R734A-030 | POWER SWITCH | A1 |  | 1 | 19.1
R734A-040 | DOOR SWITCH | R290 REACH IN |  | 2 | 19.1
R3734-030 | LOCK & KEY | ZDC, ZCR |  | 2 | 36.3
R8173-130 | CHECK VALVE AS | LFT-49D |  | 1 | 19.1
R325C-850 | PCB COVER | GI / T1.0*268.7*250.8 |  | 1 | 30.3
R371A-080 | SHELF | W609*D580 |  | 8 | 129.5
R3313-151 | SHELF CLIP |  |  | 32 | 2.2
R3373-630 | SHELF STANDARD L | T1.2*930㎜ |  | 8 | 21.9
R371A-060 | SHELF REAR B | SWRM+PE/C 350*790 |  | 2 | 64
R371A-851 | SHELF REAR CLIP | POM 11*24.1*H30 |  | 8 | 9.6
R3323-230 | 4" CASTER STEM TYPE, WITHOUT BRAKE | STEM TYPE |  | 2 | 46.4
R3323-240 | 4" CASTER STEM TYPE, WITH BRAKE | STEM TYPE |  | 2 | 53.4
R325C-740 | COVER SAFTY WIRE MESH | MSWR#10 ￠2.5*1350*364 |  | 1 | 142.5
R7213-082 | TEMPERATURE SENSOR | YELLOW |  | 1 | 34.6
R732A-340 | DEFROST SENSOR | Since Jan. 2019 |  | 1 | 34.6
R719E-390 | HARNESS | L=450MM 5P |  | 1 | 38.1
R719E-440 | SWITCH HARNESS | UL AWG18 |  | 1 | 66.5
R719E-510 | SENSOR CONNECTOR HARNESS | UL AWG 18 / D-SENSOR CONNECT |  | 1 | 38.1
R719E-530 | DEFROST SENSOR CONNECT HARNESS | UL AWG 18 L500 |  | 1 | 19.1
R7374-240 | EARTH HARNESS -A | AWG18 105℃ |  | 1 | 9.6
R719E-310 | MAIN HARNESS AC | EM2X3125U UL AWG18/24 |  | 1 | 199.4
R719E-460 | MAIN HARNESS DC | UL AWG24 |  | 1 | 66.5
R719E-540 | V-FAN CONNECT HARNESS | UL AWG24 |  | 1 | 38.1
R7523-252 | HARNESS VAPORI | AWG18. L2020 |  | 1 | 47.6